PHASEFORGE

ELECTRICAL & POWER SOLUTIONS

MASSIVE EXPANDED PRODUCT CATALOGUE

Domestic • Commercial • Industrial • Victron Energy

This edition adds a large set of electrical and electronic materials not listed in the previous PhaseForge Full Catalogue. Total product entries in this expansion: 434+. Every product uses the required fields: Product photo guidance, Product name, Brand, Price in GHS, Stock status, Specifications.

Photo guidance: View real product photos on Ghana supplier listings (Jiji, Supply Master, Opera Square, manufacturer sites, Victron Energy authorised distributors).

Price note: Most specialised and industrial items require formal supplier quotation. Indicative notes only. Confirm current Accra/Tema prices, tax and stock.

Accra & Tema | Ghana  |  POWER DONE RIGHT, every single time

# Expanded Product List (434+ entries)

Single Core PVC Conduit Cable 1.0 mm²

Brand: Nexans Kabelmetal / Tropical Cable / RR / Turkish / Ghana Cable

Price in GHS: GHS range for 1.0 mm² – confirm

Stock status: Confirm stock

Specifications: 1.0 mm² pure copper, PVC insulated, 450/750 V or 0.6/1 kV, standard colours. Domestic/commercial/industrial wiring.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Single Core PVC Conduit Cable 1.5 mm²

Brand: Nexans Kabelmetal / Tropical Cable / RR / Turkish / Ghana Cable

Price in GHS: GHS range for 1.5 mm² – confirm

Stock status: Confirm stock

Specifications: 1.5 mm² pure copper, PVC insulated, 450/750 V or 0.6/1 kV, standard colours. Domestic/commercial/industrial wiring.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Single Core PVC Conduit Cable 2.5 mm²

Brand: Nexans Kabelmetal / Tropical Cable / RR / Turkish / Ghana Cable

Price in GHS: GHS range for 2.5 mm² – confirm

Stock status: Confirm stock

Specifications: 2.5 mm² pure copper, PVC insulated, 450/750 V or 0.6/1 kV, standard colours. Domestic/commercial/industrial wiring.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Single Core PVC Conduit Cable 4 mm²

Brand: Nexans Kabelmetal / Tropical Cable / RR / Turkish / Ghana Cable

Price in GHS: GHS range for 4 mm² – confirm

Stock status: Confirm stock

Specifications: 4 mm² pure copper, PVC insulated, 450/750 V or 0.6/1 kV, standard colours. Domestic/commercial/industrial wiring.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Single Core PVC Conduit Cable 6 mm²

Brand: Nexans Kabelmetal / Tropical Cable / RR / Turkish / Ghana Cable

Price in GHS: GHS range for 6 mm² – confirm

Stock status: Confirm stock

Specifications: 6 mm² pure copper, PVC insulated, 450/750 V or 0.6/1 kV, standard colours. Domestic/commercial/industrial wiring.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Single Core PVC Conduit Cable 10 mm²

Brand: Nexans Kabelmetal / Tropical Cable / RR / Turkish / Ghana Cable

Price in GHS: GHS range for 10 mm² – confirm

Stock status: Confirm stock

Specifications: 10 mm² pure copper, PVC insulated, 450/750 V or 0.6/1 kV, standard colours. Domestic/commercial/industrial wiring.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Single Core PVC Conduit Cable 16 mm²

Brand: Nexans Kabelmetal / Tropical Cable / RR / Turkish / Ghana Cable

Price in GHS: GHS range for 16 mm² – confirm

Stock status: Confirm stock

Specifications: 16 mm² pure copper, PVC insulated, 450/750 V or 0.6/1 kV, standard colours. Domestic/commercial/industrial wiring.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Single Core PVC Conduit Cable 25 mm²

Brand: Nexans Kabelmetal / Tropical Cable / RR / Turkish / Ghana Cable

Price in GHS: Request quote / see current Accra market

Stock status: Confirm stock

Specifications: 25 mm² pure copper, PVC insulated, 450/750 V or 0.6/1 kV, standard colours. Domestic/commercial/industrial wiring.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Single Core PVC Conduit Cable 35 mm²

Brand: Nexans Kabelmetal / Tropical Cable / RR / Turkish / Ghana Cable

Price in GHS: Request quote / see current Accra market

Stock status: Confirm stock

Specifications: 35 mm² pure copper, PVC insulated, 450/750 V or 0.6/1 kV, standard colours. Domestic/commercial/industrial wiring.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Single Core PVC Conduit Cable 50 mm²

Brand: Nexans Kabelmetal / Tropical Cable / RR / Turkish / Ghana Cable

Price in GHS: Request quote / see current Accra market

Stock status: Confirm stock

Specifications: 50 mm² pure copper, PVC insulated, 450/750 V or 0.6/1 kV, standard colours. Domestic/commercial/industrial wiring.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Single Core PVC Conduit Cable 70 mm²

Brand: Nexans Kabelmetal / Tropical Cable / RR / Turkish / Ghana Cable

Price in GHS: Request quote / see current Accra market

Stock status: Confirm stock

Specifications: 70 mm² pure copper, PVC insulated, 450/750 V or 0.6/1 kV, standard colours. Domestic/commercial/industrial wiring.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Single Core PVC Conduit Cable 95 mm²

Brand: Nexans Kabelmetal / Tropical Cable / RR / Turkish / Ghana Cable

Price in GHS: Request quote / see current Accra market

Stock status: Confirm stock

Specifications: 95 mm² pure copper, PVC insulated, 450/750 V or 0.6/1 kV, standard colours. Domestic/commercial/industrial wiring.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Single Core PVC Conduit Cable 120 mm²

Brand: Nexans Kabelmetal / Tropical Cable / RR / Turkish / Ghana Cable

Price in GHS: Request quote / see current Accra market

Stock status: Confirm stock

Specifications: 120 mm² pure copper, PVC insulated, 450/750 V or 0.6/1 kV, standard colours. Domestic/commercial/industrial wiring.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Single Core PVC Conduit Cable 150 mm²

Brand: Nexans Kabelmetal / Tropical Cable / RR / Turkish / Ghana Cable

Price in GHS: Request quote / see current Accra market

Stock status: Confirm stock

Specifications: 150 mm² pure copper, PVC insulated, 450/750 V or 0.6/1 kV, standard colours. Domestic/commercial/industrial wiring.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Single Core PVC Conduit Cable 185 mm²

Brand: Nexans Kabelmetal / Tropical Cable / RR / Turkish / Ghana Cable

Price in GHS: Request quote / see current Accra market

Stock status: Confirm stock

Specifications: 185 mm² pure copper, PVC insulated, 450/750 V or 0.6/1 kV, standard colours. Domestic/commercial/industrial wiring.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Single Core PVC Conduit Cable 240 mm²

Brand: Nexans Kabelmetal / Tropical Cable / RR / Turkish / Ghana Cable

Price in GHS: Request quote / see current Accra market

Stock status: Confirm stock

Specifications: 240 mm² pure copper, PVC insulated, 450/750 V or 0.6/1 kV, standard colours. Domestic/commercial/industrial wiring.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Single Core PVC Conduit Cable 300 mm²

Brand: Nexans Kabelmetal / Tropical Cable / RR / Turkish / Ghana Cable

Price in GHS: Request quote / see current Accra market

Stock status: Confirm stock

Specifications: 300 mm² pure copper, PVC insulated, 450/750 V or 0.6/1 kV, standard colours. Domestic/commercial/industrial wiring.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Twin & Earth Flat Cable 1.5 mm²

Brand: RR / Nexans / Tropical

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 1.5 mm² twin + earth, PVC, for surface or conduit domestic/commercial circuits.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Twin & Earth Flat Cable 2.5 mm²

Brand: RR / Nexans / Tropical

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 2.5 mm² twin + earth, PVC, for surface or conduit domestic/commercial circuits.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Twin & Earth Flat Cable 4 mm²

Brand: RR / Nexans / Tropical

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 4 mm² twin + earth, PVC, for surface or conduit domestic/commercial circuits.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Twin & Earth Flat Cable 6 mm²

Brand: RR / Nexans / Tropical

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 6 mm² twin + earth, PVC, for surface or conduit domestic/commercial circuits.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Twin & Earth Flat Cable 10 mm²

Brand: RR / Nexans / Tropical

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 10 mm² twin + earth, PVC, for surface or conduit domestic/commercial circuits.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Twin & Earth Flat Cable 16 mm²

Brand: RR / Nexans / Tropical

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 16 mm² twin + earth, PVC, for surface or conduit domestic/commercial circuits.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

3-Core + Earth Flexible Cable 1.5 mm²

Brand: Nexans / BAF / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 1.5 mm² flexible copper, PVC or rubber, for appliances, motors, extensions.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

3-Core + Earth Flexible Cable 2.5 mm²

Brand: Nexans / BAF / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 2.5 mm² flexible copper, PVC or rubber, for appliances, motors, extensions.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

3-Core + Earth Flexible Cable 4 mm²

Brand: Nexans / BAF / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 4 mm² flexible copper, PVC or rubber, for appliances, motors, extensions.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

3-Core + Earth Flexible Cable 6 mm²

Brand: Nexans / BAF / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 6 mm² flexible copper, PVC or rubber, for appliances, motors, extensions.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

3-Core + Earth Flexible Cable 10 mm²

Brand: Nexans / BAF / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 10 mm² flexible copper, PVC or rubber, for appliances, motors, extensions.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

3-Core + Earth Flexible Cable 16 mm²

Brand: Nexans / BAF / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 16 mm² flexible copper, PVC or rubber, for appliances, motors, extensions.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

3-Core + Earth Flexible Cable 25 mm²

Brand: Nexans / BAF / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 25 mm² flexible copper, PVC or rubber, for appliances, motors, extensions.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

XLPE/SWA Armoured Cable 4-core 16–300 mm²

Brand: Nexans / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: XLPE insulation, steel wire armour, PVC sheath, 0.6/1 kV.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Fire Resistant Cable (mica + XLPE) various sizes

Brand: Verified FP style

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Fire survival, circuit integrity, BS/IEC standards.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MICC Mineral Insulated Cable

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Copper sheath, magnesium oxide insulation, high temperature.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Aerial Bundled Conductor ABC 2/3/4-core

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Overhead distribution, various sizes.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Concentric Service Cable

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Phase + concentric neutral, service entry.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Control Cable 0.75/1.0/1.5 mm² multi-core screened

Brand: Verified industrial

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Pairs/triads, overall or individual screen.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Instrumentation Cable overall + individual screen

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 0.5–1.5 mm², twisted pairs.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Welding Cable 16–95 mm²

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Extra flexible copper, rubber insulation.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Submersible Pump Cable 3/4-core

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Water resistant, various sizes.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

HO7RN-F Rubber Flexible 1.5–35 mm²

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Heavy duty outdoor/industrial flexible.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Solar PV Cable 4 mm² / 6 mm² / 10 mm²

Brand: Verified PV / TUV

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: UV, DC 1.5 kV, double insulated.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

CAT5e / CAT6 / CAT6A Solid & Stranded

Brand: D-Link / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: UTP/FTP/STP, 305 m boxes.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Coaxial RG6 / RG11 / RG59

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: CCTV/TV, various lengths.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Speaker Cable 2-core various gauges

Brand: Verified audio

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: OFC or CCA, various AWG.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Trace Heating Self-Regulating Cable

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: W/m ratings, freeze protection / process.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Busbar Trunking Flexible Joints & Accessories

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Compatible with busduct systems.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCB 6A 1P C-curve 6 kA

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: GHS 28–200+ depending on brand/poles

Stock status: Confirm stock

Specifications: 6A, 1P, C-curve, 6 kA or 10 kA, 230/400 V. Domestic/commercial protection.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCB 6A 2P C-curve 6 kA

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: GHS 28–200+ depending on brand/poles

Stock status: Confirm stock

Specifications: 6A, 2P, C-curve, 6 kA or 10 kA, 230/400 V. Domestic/commercial protection.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCB 6A 3P C-curve 6 kA

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: GHS 28–200+ depending on brand/poles

Stock status: Confirm stock

Specifications: 6A, 3P, C-curve, 6 kA or 10 kA, 230/400 V. Domestic/commercial protection.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCB 10A 1P C-curve 6 kA

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: GHS 28–200+ depending on brand/poles

Stock status: Confirm stock

Specifications: 10A, 1P, C-curve, 6 kA or 10 kA, 230/400 V. Domestic/commercial protection.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCB 10A 2P C-curve 6 kA

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: GHS 28–200+ depending on brand/poles

Stock status: Confirm stock

Specifications: 10A, 2P, C-curve, 6 kA or 10 kA, 230/400 V. Domestic/commercial protection.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCB 10A 3P C-curve 6 kA

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: GHS 28–200+ depending on brand/poles

Stock status: Confirm stock

Specifications: 10A, 3P, C-curve, 6 kA or 10 kA, 230/400 V. Domestic/commercial protection.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCB 16A 1P C-curve 6 kA

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: GHS 28–200+ depending on brand/poles

Stock status: Confirm stock

Specifications: 16A, 1P, C-curve, 6 kA or 10 kA, 230/400 V. Domestic/commercial protection.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCB 16A 2P C-curve 6 kA

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: GHS 28–200+ depending on brand/poles

Stock status: Confirm stock

Specifications: 16A, 2P, C-curve, 6 kA or 10 kA, 230/400 V. Domestic/commercial protection.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCB 16A 3P C-curve 6 kA

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: GHS 28–200+ depending on brand/poles

Stock status: Confirm stock

Specifications: 16A, 3P, C-curve, 6 kA or 10 kA, 230/400 V. Domestic/commercial protection.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCB 20A 1P C-curve 6 kA

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: GHS 28–200+ depending on brand/poles

Stock status: Confirm stock

Specifications: 20A, 1P, C-curve, 6 kA or 10 kA, 230/400 V. Domestic/commercial protection.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCB 20A 2P C-curve 6 kA

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: GHS 28–200+ depending on brand/poles

Stock status: Confirm stock

Specifications: 20A, 2P, C-curve, 6 kA or 10 kA, 230/400 V. Domestic/commercial protection.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCB 20A 3P C-curve 6 kA

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: GHS 28–200+ depending on brand/poles

Stock status: Confirm stock

Specifications: 20A, 3P, C-curve, 6 kA or 10 kA, 230/400 V. Domestic/commercial protection.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCB 25A 1P C-curve 6 kA

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: GHS 28–200+ depending on brand/poles

Stock status: Confirm stock

Specifications: 25A, 1P, C-curve, 6 kA or 10 kA, 230/400 V. Domestic/commercial protection.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCB 25A 2P C-curve 6 kA

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: GHS 28–200+ depending on brand/poles

Stock status: Confirm stock

Specifications: 25A, 2P, C-curve, 6 kA or 10 kA, 230/400 V. Domestic/commercial protection.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCB 25A 3P C-curve 6 kA

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: GHS 28–200+ depending on brand/poles

Stock status: Confirm stock

Specifications: 25A, 3P, C-curve, 6 kA or 10 kA, 230/400 V. Domestic/commercial protection.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCB 32A 1P C-curve 6 kA

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: GHS 28–200+ depending on brand/poles

Stock status: Confirm stock

Specifications: 32A, 1P, C-curve, 6 kA or 10 kA, 230/400 V. Domestic/commercial protection.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCB 32A 2P C-curve 6 kA

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: GHS 28–200+ depending on brand/poles

Stock status: Confirm stock

Specifications: 32A, 2P, C-curve, 6 kA or 10 kA, 230/400 V. Domestic/commercial protection.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCB 32A 3P C-curve 6 kA

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: GHS 28–200+ depending on brand/poles

Stock status: Confirm stock

Specifications: 32A, 3P, C-curve, 6 kA or 10 kA, 230/400 V. Domestic/commercial protection.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCB 40A 1P C-curve 6 kA

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: GHS 28–200+ depending on brand/poles

Stock status: Confirm stock

Specifications: 40A, 1P, C-curve, 6 kA or 10 kA, 230/400 V. Domestic/commercial protection.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCB 40A 2P C-curve 6 kA

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: GHS 28–200+ depending on brand/poles

Stock status: Confirm stock

Specifications: 40A, 2P, C-curve, 6 kA or 10 kA, 230/400 V. Domestic/commercial protection.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCB 40A 3P C-curve 6 kA

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: GHS 28–200+ depending on brand/poles

Stock status: Confirm stock

Specifications: 40A, 3P, C-curve, 6 kA or 10 kA, 230/400 V. Domestic/commercial protection.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCB 50A 1P C-curve 6 kA

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: GHS 28–200+ depending on brand/poles

Stock status: Confirm stock

Specifications: 50A, 1P, C-curve, 6 kA or 10 kA, 230/400 V. Domestic/commercial protection.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCB 50A 2P C-curve 6 kA

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: GHS 28–200+ depending on brand/poles

Stock status: Confirm stock

Specifications: 50A, 2P, C-curve, 6 kA or 10 kA, 230/400 V. Domestic/commercial protection.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCB 50A 3P C-curve 6 kA

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: GHS 28–200+ depending on brand/poles

Stock status: Confirm stock

Specifications: 50A, 3P, C-curve, 6 kA or 10 kA, 230/400 V. Domestic/commercial protection.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCB 63A 1P C-curve 6 kA

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: GHS 28–200+ depending on brand/poles

Stock status: Confirm stock

Specifications: 63A, 1P, C-curve, 6 kA or 10 kA, 230/400 V. Domestic/commercial protection.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCB 63A 2P C-curve 6 kA

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: GHS 28–200+ depending on brand/poles

Stock status: Confirm stock

Specifications: 63A, 2P, C-curve, 6 kA or 10 kA, 230/400 V. Domestic/commercial protection.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCB 63A 3P C-curve 6 kA

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: GHS 28–200+ depending on brand/poles

Stock status: Confirm stock

Specifications: 63A, 3P, C-curve, 6 kA or 10 kA, 230/400 V. Domestic/commercial protection.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCCB 80A 3P/4P

Brand: Schneider EasyPact / ABB / Chint

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 80A frame, thermal-magnetic or electronic trip, adjustable, commercial/industrial.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCCB 100A 3P/4P

Brand: Schneider EasyPact / ABB / Chint

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 100A frame, thermal-magnetic or electronic trip, adjustable, commercial/industrial.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCCB 125A 3P/4P

Brand: Schneider EasyPact / ABB / Chint

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 125A frame, thermal-magnetic or electronic trip, adjustable, commercial/industrial.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCCB 160A 3P/4P

Brand: Schneider EasyPact / ABB / Chint

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 160A frame, thermal-magnetic or electronic trip, adjustable, commercial/industrial.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCCB 200A 3P/4P

Brand: Schneider EasyPact / ABB / Chint

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 200A frame, thermal-magnetic or electronic trip, adjustable, commercial/industrial.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCCB 250A 3P/4P

Brand: Schneider EasyPact / ABB / Chint

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 250A frame, thermal-magnetic or electronic trip, adjustable, commercial/industrial.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCCB 320A 3P/4P

Brand: Schneider EasyPact / ABB / Chint

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 320A frame, thermal-magnetic or electronic trip, adjustable, commercial/industrial.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCCB 400A 3P/4P

Brand: Schneider EasyPact / ABB / Chint

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 400A frame, thermal-magnetic or electronic trip, adjustable, commercial/industrial.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MCCB 630A 3P/4P

Brand: Schneider EasyPact / ABB / Chint

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 630A frame, thermal-magnetic or electronic trip, adjustable, commercial/industrial.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

RCCB 25/40/63A 30 mA 2P/4P

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: From ~GHS 150+

Stock status: Confirm stock

Specifications: Residual current, Type AC/A, domestic/commercial.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

RCCB 100/300 mA for fire protection

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Higher residual for fire risk reduction.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

RCBO 6–63A 1P+N / 2P

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Combined MCB+RCD, space saving.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

AFDD 10–40A

Brand: Schneider / premium

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Arc fault detection, fire safety.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

SPD Type 1+2 / Type 2 20–80 kA

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Surge protection, poles, Uc.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

HRC Fuse NH00–NH3 various A

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: gG/aM characteristics.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Fuse Holder 10x38 / NH

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: DIN rail or bolted.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Isolator 40–630A 3P/4P

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Load break / switch-disconnector.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Changeover Switch Manual 40–400A

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: On-load or off-load, open transition.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

ATS Automatic Transfer Switch 40–630A

Brand: Verified / Schneider

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Controller, interlocking, commercial/industrial.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Soft Starter 7.5–250 kW

Brand: ABB / Schneider / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 3-phase motor starting, bypass option.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Star-Delta Starter complete

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Timer, contactors, overload, enclosure.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Contactor 9–150A AC3

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens / Siemens

Price in GHS: From ~GHS 80+

Stock status: Confirm stock

Specifications: Coil 230 V / 400 V, auxiliaries.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Thermal Overload 0.1–150A

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Direct mount or separate.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MPCB Motor Protection Breaker

Brand: Schneider / Legrand / ABB / Chint / Hager / Siemens

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Adjustable current, magnetic.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Power Factor Capacitor 5–50 kVAR

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Dry or oil, 400 V.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

APFC Controller 6–12 step

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: CT input, automatic switching.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Active Harmonic Filter

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: A rating, 3-phase.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

1-Gang 1-Way Switch 10A/20A

Brand: MK / Legrand / Schneider / Chint / Crabtree style

Price in GHS: GHS 15–120+ typical

Stock status: Confirm stock

Specifications: Domestic/commercial plate switch, white/ivory/metallic finishes, grid or moulded.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

1-Gang 2-Way Switch 10A/20A

Brand: MK / Legrand / Schneider / Chint / Crabtree style

Price in GHS: GHS 15–120+ typical

Stock status: Confirm stock

Specifications: Domestic/commercial plate switch, white/ivory/metallic finishes, grid or moulded.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

1-Gang Intermediate Switch 10A/20A

Brand: MK / Legrand / Schneider / Chint / Crabtree style

Price in GHS: GHS 15–120+ typical

Stock status: Confirm stock

Specifications: Domestic/commercial plate switch, white/ivory/metallic finishes, grid or moulded.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

2-Gang 1-Way Switch 10A/20A

Brand: MK / Legrand / Schneider / Chint / Crabtree style

Price in GHS: GHS 15–120+ typical

Stock status: Confirm stock

Specifications: Domestic/commercial plate switch, white/ivory/metallic finishes, grid or moulded.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

2-Gang 2-Way Switch 10A/20A

Brand: MK / Legrand / Schneider / Chint / Crabtree style

Price in GHS: GHS 15–120+ typical

Stock status: Confirm stock

Specifications: Domestic/commercial plate switch, white/ivory/metallic finishes, grid or moulded.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

2-Gang Intermediate Switch 10A/20A

Brand: MK / Legrand / Schneider / Chint / Crabtree style

Price in GHS: GHS 15–120+ typical

Stock status: Confirm stock

Specifications: Domestic/commercial plate switch, white/ivory/metallic finishes, grid or moulded.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

3-Gang 1-Way Switch 10A/20A

Brand: MK / Legrand / Schneider / Chint / Crabtree style

Price in GHS: GHS 15–120+ typical

Stock status: Confirm stock

Specifications: Domestic/commercial plate switch, white/ivory/metallic finishes, grid or moulded.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

3-Gang 2-Way Switch 10A/20A

Brand: MK / Legrand / Schneider / Chint / Crabtree style

Price in GHS: GHS 15–120+ typical

Stock status: Confirm stock

Specifications: Domestic/commercial plate switch, white/ivory/metallic finishes, grid or moulded.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

3-Gang Intermediate Switch 10A/20A

Brand: MK / Legrand / Schneider / Chint / Crabtree style

Price in GHS: GHS 15–120+ typical

Stock status: Confirm stock

Specifications: Domestic/commercial plate switch, white/ivory/metallic finishes, grid or moulded.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

4-Gang 1-Way Switch 10A/20A

Brand: MK / Legrand / Schneider / Chint / Crabtree style

Price in GHS: GHS 15–120+ typical

Stock status: Confirm stock

Specifications: Domestic/commercial plate switch, white/ivory/metallic finishes, grid or moulded.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

4-Gang 2-Way Switch 10A/20A

Brand: MK / Legrand / Schneider / Chint / Crabtree style

Price in GHS: GHS 15–120+ typical

Stock status: Confirm stock

Specifications: Domestic/commercial plate switch, white/ivory/metallic finishes, grid or moulded.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

4-Gang Intermediate Switch 10A/20A

Brand: MK / Legrand / Schneider / Chint / Crabtree style

Price in GHS: GHS 15–120+ typical

Stock status: Confirm stock

Specifications: Domestic/commercial plate switch, white/ivory/metallic finishes, grid or moulded.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

1-Gang 13A Switched Socket

Brand: MK / Legrand / Schneider / Chint / Crabtree style

Price in GHS: GHS 20–150+

Stock status: Confirm stock

Specifications: BS 1363, shuttered, optional neon/USB.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

2-Gang 13A Switched Socket

Brand: MK / Legrand / Schneider / Chint / Crabtree style

Price in GHS: GHS 20–150+

Stock status: Confirm stock

Specifications: BS 1363, shuttered, optional neon/USB.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

13A Unswitched Socket

Brand: MK / Legrand / Schneider / Chint / Crabtree style

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: BS 1363 shuttered.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

13A Socket with USB-A + USB-C

Brand: MK / Legrand / Schneider / Chint / Crabtree style / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Combined power + charging.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

45A Cooker Switch + Socket

Brand: MK / Legrand / Schneider / Chint / Crabtree style

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Neon, DP switch.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

45A Cooker Control Unit

Brand: MK / Legrand / Schneider / Chint / Crabtree style

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: With or without socket.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Fan Regulator 5-step / Electronic

Brand: MK / Legrand / Schneider / Chint / Crabtree style

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Ceiling fan control.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Dimmer Switch Leading/Trailing Edge

Brand: MK / Legrand / Schneider / Chint / Crabtree style

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: LED compatible options.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Pull Cord Switch 6A/10A

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Bathroom, ceiling mounted.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Ceiling Switch / Surface Switch

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: High level switching.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Bell Push Flush / Surface

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Illuminated options.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Telephone / Data Socket RJ45

Brand: MK / Legrand / Schneider / Chint / Crabtree style

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Single/double, Cat6.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

TV / Satellite Socket

Brand: MK / Legrand / Schneider / Chint / Crabtree style

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Coaxial outlet.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Shaver Socket Dual Voltage

Brand: MK / Legrand / Schneider / Chint / Crabtree style

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Bathroom IP44.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Weatherproof IP66 Switch 1/2-gang

Brand: MK / Legrand / Schneider / Chint / Crabtree style / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Outdoor, sealed.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Weatherproof IP66 13A Socket

Brand: MK / Legrand / Schneider / Chint / Crabtree style / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Outdoor, hinged lid.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Floor Socket / Underfloor Box

Brand: Verified commercial

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Pop-up or flush, power+data.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Modular Grid Switch System

Brand: Legrand / Schneider / MK

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Grid plates, interchangeable modules.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Hotel Key Card Switch

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Energy saving, commercial.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Door Bell Transformer 8/12 V

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Bell circuit supply.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Ceiling Rose with Terminals

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Loop-in, 3-plate.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Batten Lamp Holder E27/B22

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Straight or angled.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Pendant Lamp Holder Set

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Flex, ceiling rose, holder.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Patress Box 1-gang / 2-gang 16/25/35 mm

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Dry lining or solid wall.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Dry Lining Box / Cavity Box

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Plasterboard mounting.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Surface Metal Clad Switch/Socket

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Industrial domestic look.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Industrial Plug 16A 3P+E IP44/IP67

Brand: Verified Mennekes style

Price in GHS: GHS 100–200+

Stock status: Confirm stock

Specifications: 230/400 V, panel or trailing.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Industrial Plug 32A 3P+E / 5P IP44/IP67

Brand: Verified

Price in GHS: GHS 150–280+

Stock status: Confirm stock

Specifications: Higher current industrial.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Industrial Plug 63A / 125A

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: High power, IP67.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Industrial Socket Surface / Panel 16–125A

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Matching plugs.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Pendant Socket / Trailing Socket Industrial

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: With cable.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cable Gland Brass Metric M16–M63

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: IP68, various thread.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cable Gland Nylon / PVC

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Metric & PG, indoor/outdoor.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Explosion Proof Gland / Barrier Gland

Brand: Verified Ex

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Zone 1/2, Ex d / Ex e.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Explosion Proof Switch / Socket

Brand: Verified Ex

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Zone rated, industrial hazardous.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Explosion Proof Lighting Fixture

Brand: Verified Ex

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: LED, Zone 1/2.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Explosion Proof Junction Box

Brand: Verified Ex

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Ex e / Ex d.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Heavy Duty Contactor 150–800A

Brand: Schneider / ABB / Siemens

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: AC3, coil options.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Vacuum Contactor

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: MV or heavy LV.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Motor Control Centre MCC Section

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Withdraw able or fixed.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Busbar Chamber / Trunking 100–5000A

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Sandwich or air insulated.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cast Resin Transformer 50–2500 kVA

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Dry type, indoor.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Oil Filled Distribution Transformer

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 11/0.4 kV etc.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Ring Main Unit RMU 11/22/33 kV

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: SF6 or solid insulated.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

HV Switchgear Cubicle

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 11–33 kV.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Current Transformer 100/5 to 3000/5

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Accuracy class, burden.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Voltage Transformer 11 kV / 110 V

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Single/three phase.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Protection Relay Numerical

Brand: Schneider / ABB / Siemens / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Overcurrent, earth fault, differential.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Auxiliary Relay + Timer Multi-function

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Industrial control.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Push Button Station Metal IP65

Brand: Schneider / ABB / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Start/Stop/E-Stop, multiple buttons.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Emergency Stop Mushroom Latch

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Twist release, NC contacts.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Indicator Light LED 22 mm / 30 mm

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Multiple colours, 24/230 V.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Selector Switch 2/3 position

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Maintained/momentary.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cam Switch / Rotary Switch

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Multi-pole, off-load/on-load.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Limit Switch Heavy Duty Roller/Lever

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: IP67, industrial.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Proximity Sensor M8/M12/M18/M30

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Inductive, NPN/PNP, NO/NC.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Photoelectric Sensor Through-beam/Reflective

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Various sensing distances.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Level Sensor / Float Switch Industrial

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Cable or rigid, multiple points.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Pressure Switch / Transmitter 0–10 bar+

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Adjustable, 4–20 mA option.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Temperature Sensor PT100 / Thermocouple

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: With transmitter options.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

PID Temperature Controller 48x48 / 96x96

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: SSR/relay output.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

SSR Solid State Relay 10–100A

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: AC/DC control, zero cross.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

VFD 0.75–160 kW 400 V

Brand: ABB / Schneider / Delta / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Vector control, EMC filter options.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Soft Starter 15–400 kW

Brand: ABB / Schneider

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Inside delta, bypass.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Servo Drive + Motor Set

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Torque, speed, encoder.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

PLC Compact / Modular

Brand: Siemens / Schneider / Omron / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: DI/DO, AI/AO, communication.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

HMI Touch Panel 4–15 inch

Brand: Siemens / Schneider / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Ethernet, serial, IP65 front.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Industrial Ethernet Switch Managed/Unmanaged

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 5–24 port, DIN rail.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Protocol Converter / Gateway

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Modbus, Profibus, Ethernet/IP.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Panel PC / Industrial Computer

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Touch, fanless options.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Enclosure Steel IP55/IP66 200x200 to 1200x800

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Wall/floor, gland plates, mounting plate.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Polyester / GRP Enclosure IP66

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Corrosion resistant.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Stainless Steel Enclosure IP66

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Food / marine / chemical.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

DIN Rail Terminal Blocks 2.5–95 mm²

Brand: Wago / Phoenix / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Screw or spring, multi-level.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Earth Terminal / Neutral Bar

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Various ways.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cable Duct / Wiring Duct slotted

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 25x25 to 100x100 mm.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Spiral Wrap / Expandable Sleeving

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Cable management.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cable Tie Mounts / Bases

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Screw or adhesive.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Identification Markers / Ferrules Printable

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Heat shrink or clip-on.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Anti-Condensation Heater 10–100 W

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Panel / enclosure.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Thermostat for Enclosure 0–60 °C

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: NO/NC.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Filter Fan + Exhaust Grille IP54

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Various CFM.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

LED Panel Light for Enclosure

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Door switch option.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

LED Downlight 5–20 W cut-out various

Brand: Philips / LEDVANCE / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Recessed, CCT options, dimmable.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

LED High Bay 100–200 W

Brand: Verified industrial

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: UFO or linear, 120–150 lm/W.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

LED Low Bay 50–100 W

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Warehouse / workshop.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

LED Linear Batten 18–60 W

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 1.2 m / 1.5 m, IP20/IP65.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

LED Waterproof Tri-proof 20–60 W

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: IP65, for wet areas.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

LED Street Light 30–150 W

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Photocell option, photocell.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

LED Floodlight 20–500 W

Brand: Philips / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: IP65/66, bracket.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

LED Bulkhead IP65

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Round/oval, emergency option.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Emergency Conversion Kit

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: For existing luminaires.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Exit Sign Maintained / Non-maintained

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: LED, 3 h.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Central Battery System 24/48 V

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Autonomy, monitoring.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Track Spotlight + Track

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 1-phase / 3-phase track.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

LED Strip 12/24 V + Driver + Profile

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: IP20/IP65, various CCT.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

LED Driver 10–200 W Constant Current

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Dimmable options.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Photocell Switch 10–20 A

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Dusk to dawn.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Occupancy / Motion Sensor Ceiling

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: PIR/Microwave, 1–10 V or relay.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Daylight Sensor / Photocell Dimming

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Constant light control.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Explosion Proof LED Linear / Wellglass

Brand: Verified Ex

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Zone 1/2.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Clean Room LED Panel

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: IP54/65, sealed.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Hospital / Medical Examination Light

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: High CRI, adjustable.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Digital Multimeter True RMS CAT IV

Brand: Fluke / UNI-T / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 6000–60000 counts, logging options.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Clamp Meter 400/600/1000 A AC/DC

Brand: Fluke / UNI-T

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: True RMS, inrush, power.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Insulation Tester 50–1000 V / 5 kV / 10 kV

Brand: Fluke / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: PI, DAR, ramp.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Earth Tester 3/4 pole + Clamp method

Brand: Fluke / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Soil resistivity.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Loop / PSC Tester

Brand: Fluke / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Ze, Zs, PFC.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

RCD Tester

Brand: Fluke / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Trip time, trip current.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Installation Tester Multifunction

Brand: Fluke / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Combined tests, reporting.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Thermal Camera 160x120 to 640x480

Brand: Fluke / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Electrical inspection.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Power Quality Analyser

Brand: Fluke / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Harmonics, transients, logging.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cable Locator + Generator

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Live/dead cable tracing.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Fault Locator TDR / Bridge

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Cable fault distance.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Phase Rotation Meter

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Contact and non-contact.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Non-contact Voltage Detector HV

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Up to 500 kV options.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Torque Screwdriver / Wrench set

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Nm range for terminals.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Hydraulic Crimper 16–400 mm²

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Battery or manual, dies.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cable Cutter Ratchet / Hydraulic

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Cu/Al up to 400 mm².

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Wire Stripper Automatic / Precision

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 0.05–10 mm².

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

VDE Pliers Set 1000 V

Brand: Knipex style / Ingco / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Combination, long nose, side cutters.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

VDE Screwdriver Set Slim

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: SL/PH/PZ/TX.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Insulated Spanner / Socket Set

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 1000 V rated.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Fish Tape 20–50 m Steel / Fibreglass

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: With leaders.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Conduit Bender 20/25/32 mm

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Hand or hydraulic.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Conduit Threader Manual / Power

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: BSP/NPT.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Knockout Punch Set

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: For enclosures.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Heat Gun Digital 2000 W

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Variable temperature.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Soldering Station Digital

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Temperature controlled.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Label Printer Industrial

Brand: Brother / Brady style / verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Heat shrink, wrap around.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Laser Distance Meter

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: For installation measurement.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Victron MultiPlus 500 VA – 5000 VA various V

Brand: Victron Energy

Price in GHS: Request quote

Stock status: Confirm with authorised distributor

Specifications: Inverter/charger, PowerAssist, VE.Bus.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Victron MultiPlus-II 3kVA – 15kVA

Brand: Victron Energy

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: ESS ready, external CT option.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Victron Quattro 3kVA – 15kVA

Brand: Victron Energy

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Dual AC inputs.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Victron Quattro-II

Brand: Victron Energy

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Updated platform.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Victron EasySolar-II GX

Brand: Victron Energy

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: All-in-one with GX.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Victron Phoenix Inverter 250–3000 VA

Brand: Victron Energy

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Pure sine, VE.Direct.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Victron Multi RS Solar 48/6000

Brand: Victron Energy

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: High PV input, dual tracker.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Victron Inverter RS 48/6000

Brand: Victron Energy

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: High frequency.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Victron SmartSolar MPPT full range 75/10 to 250/100

Brand: Victron Energy

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Bluetooth, VE.Direct, ultra-fast MPPT.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Victron SmartSolar MPPT RS 450/100 & 450/200

Brand: Victron Energy

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: High voltage PV.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Victron BlueSolar MPPT

Brand: Victron Energy

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Non-Bluetooth, dongle ready.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Victron Lithium SuperPack 12.8 V & 25.6 V

Brand: Victron Energy

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Integrated BMS.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Victron Lithium NG

Brand: Victron Energy

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Next gen LiFePO4.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Victron AGM / Gel / Lead-Carbon ranges

Brand: Victron Energy

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Deep cycle.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Victron BMV-712 Smart + SmartShunt

Brand: Victron Energy

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Battery monitoring.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Victron Lynx Distributor / Power In / Shunt

Brand: Victron Energy

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: DC bus system.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Victron Cerbo GX / Cerbo-S / Ekrano GX

Brand: Victron Energy

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: System monitoring, VRM.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Victron GX Touch 50 / 70

Brand: Victron Energy

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Display for Cerbo.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Victron GlobalLink 520

Brand: Victron Energy

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 4G VRM connectivity.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Victron Orion-Tr Smart / Orion XS DC-DC

Brand: Victron Energy

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Isolated/non-isolated chargers.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Victron Phoenix / Blue Smart / Skylla Chargers

Brand: Victron Energy

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: IP22/IP43/IP65/IP67.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Victron Cyrix / Argofet / Argodiode

Brand: Victron Energy

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Battery combiners & isolators.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Victron BatteryProtect 12/24 V

Brand: Victron Energy

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Over-discharge protection.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Victron VE.Direct Bluetooth Dongle + Cables

Brand: Victron Energy

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Accessories.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Victron Smart Battery Sense + Temp Sensor

Brand: Victron Energy

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Wireless sensing.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cable Tie Nylon 100 mm various widths

Brand: Verified

Price in GHS: Request quote (packs)

Stock status: Confirm stock

Specifications: Natural/black, UV stabilised options, 2.5–12 mm width.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cable Tie Nylon 150 mm various widths

Brand: Verified

Price in GHS: Request quote (packs)

Stock status: Confirm stock

Specifications: Natural/black, UV stabilised options, 2.5–12 mm width.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cable Tie Nylon 200 mm various widths

Brand: Verified

Price in GHS: Request quote (packs)

Stock status: Confirm stock

Specifications: Natural/black, UV stabilised options, 2.5–12 mm width.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cable Tie Nylon 250 mm various widths

Brand: Verified

Price in GHS: Request quote (packs)

Stock status: Confirm stock

Specifications: Natural/black, UV stabilised options, 2.5–12 mm width.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cable Tie Nylon 300 mm various widths

Brand: Verified

Price in GHS: Request quote (packs)

Stock status: Confirm stock

Specifications: Natural/black, UV stabilised options, 2.5–12 mm width.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cable Tie Nylon 370 mm various widths

Brand: Verified

Price in GHS: Request quote (packs)

Stock status: Confirm stock

Specifications: Natural/black, UV stabilised options, 2.5–12 mm width.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cable Tie Nylon 400 mm various widths

Brand: Verified

Price in GHS: Request quote (packs)

Stock status: Confirm stock

Specifications: Natural/black, UV stabilised options, 2.5–12 mm width.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cable Tie Nylon 450 mm various widths

Brand: Verified

Price in GHS: Request quote (packs)

Stock status: Confirm stock

Specifications: Natural/black, UV stabilised options, 2.5–12 mm width.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cable Tie Nylon 500 mm various widths

Brand: Verified

Price in GHS: Request quote (packs)

Stock status: Confirm stock

Specifications: Natural/black, UV stabilised options, 2.5–12 mm width.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cable Tie Nylon 550 mm various widths

Brand: Verified

Price in GHS: Request quote (packs)

Stock status: Confirm stock

Specifications: Natural/black, UV stabilised options, 2.5–12 mm width.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cable Tie Nylon 750 mm various widths

Brand: Verified

Price in GHS: Request quote (packs)

Stock status: Confirm stock

Specifications: Natural/black, UV stabilised options, 2.5–12 mm width.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cable Tie Nylon 1000 mm various widths

Brand: Verified

Price in GHS: Request quote (packs)

Stock status: Confirm stock

Specifications: Natural/black, UV stabilised options, 2.5–12 mm width.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Insulation Tape PVC Black/Colours 19 mm x 20–33 m

Brand: Verified / 3M style

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Electrical grade.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Self-Amalgamating Tape

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Waterproof joints.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Heat Shrink Tube 2:1 / 3:1 various diameters

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Adhesive lined options, colours.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Heat Shrink End Cap

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Cable sealing.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cable Marker Clip-on / Printable

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 0–9, A–Z, custom.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Ferrule Assortment 0.5–16 mm²

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Insulated bootlace.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Crimp Terminal Ring/Spade/Bullet assortment

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Red/blue/yellow.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Copper Lug 1.5–400 mm² various stud

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Tin plated.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Bi-metal Lug Al-Cu

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: For aluminium conductors.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Mechanical Connector Shear-bolt

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 16–300 mm².

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Resin Joint Kit LV

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Straight / branch.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Heat Shrink Joint Kit LV/MV

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: With or without connector.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cold Shrink Joint / Termination

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: MV applications.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MV Termination Indoor/Outdoor

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 11/33 kV.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Earth Rod 5/8" 4–10 ft Copper Bonded

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Threaded, couplings.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Earth Rod Solid Copper

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Various diameters.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Chemical Electrode + Backfill

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Low resistance earthing.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Earth Pit Concrete / Plastic

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Inspection chamber.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Earth Clamp Rod to Tape / Cable

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Gunmetal / brass.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Copper Tape 25x3 / 25x6 / 50x6 mm

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Earthing / lightning.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Lightning Air Terminal / Spike

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Multiple points, base.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Down Conductor Fixings / Clips

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Copper / aluminium.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Surge Counter for Lightning System

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Discharge recording.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Equipotential Bonding Bar 6–20 way

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Copper, insulated mounts.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Warning Signs Electrical / HV / Danger

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Rigid or adhesive.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Lockout Kit Padlocks + Hasps + Tags

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: LOTO safety.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Insulated Gloves Class 00 to Class 4

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: With leather protectors.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Arc Flash Face Shield + Balaclava

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: cal/cm² rated.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Voltage Detector Stick 1–36 kV / higher

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Contact / non-contact.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Temporary Earthing Set Portable

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Clamps + cables + bag.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Fire Extinguisher CO2 2–5 kg

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Electrical fires.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Fire Blanket 1.2x1.2 m+

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Electrical / kitchen.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

First Aid Kit Electrical / Burns

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Site box.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Safety Helmet + Chin Strap

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Colour options.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Safety Glasses / Goggles

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Clear / tinted, anti-fog.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Hi-Vis Vest / Coverall

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: For site.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Knee Pads / Safety Boots Electrical Hazard

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: EH rated soles.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cable Pulling Lubricant Gel / Liquid

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Long pulls.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cable Sock / Pulling Grip

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Various diameters.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cable Roller Straight / Corner

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Installation aid.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Duct Rods / Fish Sticks 5–50 m

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Fibreglass.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Silicone Sealant Electrical / Neutral Cure

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Outdoor sealing.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Contact Cleaner Spray

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Switch / connector.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Corrosion Inhibitor / De-oxidising Compound

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Joints.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Transformer Oil Inhibited

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Drum quantities.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Insulating Varnish Spray

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Coil / board.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

PCB Cleaning Solvent

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Electronics.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Desoldering Braid / Pump

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Repair.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Solder Wire 60/40 / Lead-free

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Flux core.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Flux Paste / Liquid

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Soldering.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Heat Sink Compound

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Thermal interface.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Isopropyl Alcohol IPA 99%

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Cleaning.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Compressed Air Duster

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Electronics.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Anti-Static Wrist Strap + Mat

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: ESD protection.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

ESD Bags / Boxes

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Component storage.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Breadboard / Prototype Board

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Electronics development.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Dupont Jumper Wires M-M / M-F / F-F

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Prototyping.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Pin Header / Socket 2.54 mm

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Various ways.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Terminal Block Screw 2–12 way

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 5 mm / 7.5 mm pitch.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Relay Module 1/2/4/8 channel 5 V / 12 V / 24 V

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Arduino / PLC interface.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

DC-DC Buck / Boost Module

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Adjustable voltage.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Linear / Switching Power Supply 5/12/24 V

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: DIN rail or enclosed.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Battery Holder AA/AAA/9V

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: With leads.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Coin Cell Holder CR2032

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: PCB or wire.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Fuse Holder Panel / Inline / PCB

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: 5x20 / 6.3x32 mm.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Glass / Ceramic Fuse 5x20 assortment

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Fast/slow blow.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Resettable PTC Fuse

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Various hold currents.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Varistor / MOV 7–20 mm

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Surge absorption.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

TVS Diode

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: ESD / transient.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

NTC / PTC Thermistor

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Inrush / temperature.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Capacitor Electrolytic / Ceramic / Film assortment

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Electronics.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Resistor 1/4 W – 5 W assortment

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Carbon / metal film.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

LED 3/5 mm + Resistor kits

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Indicators.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Toggle / Rocker / Slide Switch

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: SPST/SPDT/DPDT.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Microswitch / Limit Lever

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: NO/NC.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Rotary Encoder with Switch

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: User interface.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Potentiometer Linear / Log

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Panel / PCB.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Buzzer Active / Passive 5/12 V

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Alarms.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Piezo Speaker

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Audio.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

DC Motor 3–12 V + Driver

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Hobby / small automation.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Stepper Motor 28BYJ / NEMA 17 + Driver

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Positioning.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Servo Motor 9g / MG996 + Controller

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: RC / robotics.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Arduino / ESP32 / Raspberry Pi compatible modules

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Sensors, shields, displays.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

OLED / LCD Display 0.96–2.4 inch

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: I2C / SPI.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Temperature Humidity Sensor DHT / SHT

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Environmental.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

PIR Motion Module

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Security / automation.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Ultrasonic Distance Sensor HC-SR04

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Ranging.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Current Sensor ACS712 / INA219

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Monitoring.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Voltage Sensor Module

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Divider.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Relay Driver / Optocoupler Board

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Isolation.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Logic Level Converter 3.3/5 V

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Interfacing.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

USB to TTL / RS485 Converter

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Programming / bus.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Breadboard Power Supply Module 3.3/5 V

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Prototyping.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Prototype PCB Stripboard / Perfboard

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Various sizes.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Enclosure Plastic for Electronics

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Flanged, IP rated options.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cable Gland Small for Enclosures M12–M20

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Electronics boxes.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Rubber Feet / Mounting Hardware Assortment

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Assembly.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Standoff / Spacer M3/M4 Brass / Nylon

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: PCB mounting.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Machine Screw / Nut / Washer Assortment M3–M6

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Assembly.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Double Sided Foam Tape / Velcro

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Mounting.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cable Clip Adhesive / Screw

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Domestic/commercial.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Conduit Saddle Spacer / Spacer Bar

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Installation.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Wall Plug / Rawlplug Assortment

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Fixings.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Screw Assortment Drywall / Wood / Self-tapping

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Installation.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cable Cleat Single / Trefoil

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Short circuit rated.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cable Tray Clamp / Hold Down

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Fixing.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Unistrut / Channel + Accessories

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Support systems.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Threaded Rod M6–M12 + Couplers

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Suspension.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Spring Nut / Channel Nut

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Unistrut.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Beam Clamp / Girder Clip

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Structural fixing.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Pipe Clamp / Clevis

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Conduit support.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Expansion Bolt / Anchor

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Concrete fixing.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Chemical Anchor Capsule / Resin

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Heavy fixing.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Fire Stopping Compound / Pillow / Seal

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Penetration seals.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Intumescent Mastic / Sealant

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Fire rated.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cable Transits / Multi-cable Seal

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Bulkhead / wall.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Weatherproof Hood / Canopy for Sockets

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Outdoor.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Junction Box Waterproof IP67 various sizes

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Outdoor/underground.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Underground Cable Warning Tape

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Detectable options.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cable Protection Tile / Cover

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Buried cables.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Duct / Sub-duct for Fibre / Cable

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Telecommunications.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Draw Pit / Hand Hole

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Access chambers.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Manhole Cover Electrical / Telecom

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Load rated.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Street Light Column / Outreach

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Galvanised, various heights.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Lantern / Luminaire for Street Column

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: LED, photocell.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Cut-out / Fuse Box for Street Light

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Isolation.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Time Switch Digital / Astronomical

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Lighting control.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Contactor for Lighting 20–63A

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Quiet operation options.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Lighting Control Module DALI / 1–10 V

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Commercial systems.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Presence Detector High Bay

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Warehouse.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Corridor Function Sensor

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Energy saving.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Emergency Test Key / Switch

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Monthly test.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Self-Test Emergency Driver

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Automatic testing.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Central Monitoring System for Emergency Lighting

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Addressable.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

UPS for Emergency Lighting

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Central battery alternative.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Inverter for Emergency Conversion

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Maintained luminaires.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Battery Pack NiCd / NiMH / LiFePO4 for Emergency

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Replacement cells.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Exit Sign Legend Kit / Diffuser

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Spare parts.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Photoluminescent Exit Sign / Tape

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Non-electrical.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Safety Way Guidance System

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Low location lighting.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

EV Charging Station AC 7–22 kW

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Type 2, tethered/socket.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

EV DC Fast Charger 30–150 kW+

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: CCS / CHAdeMO.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

EV Charging Cable Type 1 / Type 2

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Various lengths, current.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

EV Load Management System

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Dynamic balancing.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Smart Energy Meter with CT for EV / Solar

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Import/export.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

MID Approved Energy Meter

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Billing.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

CT Clamp Open Core 50–600 A

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Monitoring.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Rogowski Coil Flexible CT

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Large conductors.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Power Analyser Portable

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Energy surveys.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Data Logger Multi-channel

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Voltage, current, temp.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

SCADA / RTU Module

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Remote monitoring.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

IoT Gateway 4G / LoRa / Wi-Fi

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Sensor networks.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Smart Relay / Wi-Fi Contactor

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: App control.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

Energy Monitoring App Compatible Meter

Brand: Verified

Price in GHS: Request quote

Stock status: Confirm stock

Specifications: Cloud dashboard.

Product photo guidance: View real product photos on Ghana supplier / manufacturer / Victron listings

# Notes

This expansion focuses on materials commonly required for domestic, commercial and industrial electrical installations in Ghana that were not fully covered previously. Size and rating variants multiply the practical SKU count significantly. For a live commercial catalogue, replace photo guidance with exact images and obtain formal quotations for all non-stock items.

POWER DONE RIGHT, every single time